## Slide 1
1H
CH
PEG
CH3
OH
CH2
OH
OH
OH
CH
PEG
CH3
CH2
OH

## Slide 2
T1 Experiment

## Slide 3
Arrayed Data
t= 6.3 s
t
var.
180°
90°
t= 0.05 s
k possible scaling factor

## Slide 4
BRUKER File Format
Zipped Folder
Folder containing n exp. data
1st exp. data
1st processed data
Folder of proc.. data
data
Delay list
proc. data
Fit function
Fit result

## Slide 5
Choose Regions of Interest
Integrals recommended

## Slide 6
Recovery of Magnetization
Mz(t) for OH
X vs. Y for each peak (multiplett)

## Slide 7
Recovery of Magnetization
OH
CH
CH3
PEG
CH2
CH
PEG
CH3
OH
CH2

## Slide 8
Recovery of Magnetization
PEG
CH
CH3
OH
CH2

## Slide 9
Choose Fit Function
PEG
CH
CH3
OH
CH2

## Slide 10
PEG
CH
CH3
CH2
Calculate Fit
PEG
CH
CH3
OH
CH2

## Slide 11
Comparisson with BRUKER FiT
PEG
CH
CH3
OH
CH2
1/G 6.756 5.238 0.817 0.531 2.901
BRUKER 6.614 s 4.567 s 0.716 s 0.535 s 2.865 s

## Slide 12
1H

## Slide 13
DOSY Experiment(Diffusion Coefficient)

## Slide 14
DOSY Experiment(Diffusion Coefficient)
Gradient strength has to be incremented
d
D

## Slide 15
Stacked Plot
Observe Gaussian decay (diffusion)
d (little delta) has to be taken from BRUKER DOSY data

## Slide 16
BRUKER File Format
1st processed data
Folder of proc.. data
proc. data
DOSY Fit result
Zipped Folder
Folder containing n exp. data
3rd exp. data set
proc. data set
(little delta) has to be taken from BRUKER DOSY data
5 ms = 0,.005

## Slide 17
DOSY
d (little delta) has to be taken 0.005
z axis (gradient) can be calculated by Mnova

## Slide 18
Choose Regions of Interest
(c.f. T1)
Observe Gaussian decay (diffusion)
Exponential decay (see fit func)

## Slide 19
Choose Mono-exponential Fit
(c.f. T1)
Observe Gaussian decay (diffusion)
Result

## Slide 20
Mono-exponential Fit for All Regions
(c.f. T1)

## Slide 21
Compare with BRUKER Results
Diff Con. BRUKER in m2/s
Diff Con.Mnova in cm2/s
Diff BRUER/Diff Mnova => Factor 10-4
BRUKER 1.36e-9 6.49 e-10 2.37 e-10 1.87 e-10 3.49 e-10
BRUKER 2.37 e-10 1.87 e-10 3.49 e-10 3.39 e-10 5.88 e-10
PEG
CH
CH3
OH
CH2
PEG
CH2
CH2
PEG
PEG
MNOVA calculates Diffusion coefficients in cm2/s while BRUKER uses units m2/s => DMNOVA/DBRUKER 1e+4 !!!

## Slide 22
2D- DOSY Spectrum

## Slide 23
2D- DOSY Spectrum

## Slide 24
2D- DOSY Spectrum
CH
CH3
PEG
OH
CH2

## Slide 25
1H Exchange
CH3(MeOH)
HDO
CH3(isopr.)
DMSO
OH(isopr.)
OH(MeOH)
CH(isopr.)

## Slide 26
2D-ECSY Spectrum
OH
B0 - evolution
t2
t1
tmix
90° y
90° y
- 90° y

## Slide 27
FT along t2 -> Series of FIDs along t1
B0 - evolution
t2
t1
tmix
90° y
90° y
- 90° y

## Slide 28
FT along t1 (2D) and Phase Correction

## Slide 29
Manual Phase Correction

## Slide 30
F1 needs Phase Correction

## Slide 31
Load 1D Spectra as Projections (if needed)

## Slide 32
Apply Baseline Correction (if needed)

## Slide 33
Assignment
CH3(MeOH)
HDO
CH3(isopr.)
DMSO
OH(isopr.)
OH(MeOH)
CH(isopr.)
DMSO
CH3(isopr.)
DMSO
CH3(MeOH)
CH3(isopr.)
OH exchange !!!
HDO /OH(MeOH)
HDO/ OH(isopr.)
OH(MeOH)/OH(isopr.)
t1
tmix = 0.2 s
90° y
90° y
- 90° y
t2

## Slide 34
CH3(MeOH)
HDO
CH3(isopr.)
DMSO
OH(isopr.)
OH(MeOH)
CH(isopr.)
DMSO
CH3(isopr.)
DMSO
CH3(MeOH)
CH3(isopr.)
OH exchange !!!
HDO /OH(MeOH)
HDO/ OH(isopr.)
OH(MeOH)/OH(isopr.)
Exchange Cross Peaks Depend on Mixing Time
t1
tmix = 0.2 s
90° y
90° y
- 90° y
t2

## Slide 35
CH3(MeOH)
HDO
CH3(isopr.)
DMSO
OH(isopr.)
OH(MeOH)
CH(isopr.)
DMSO
CH3(isopr.)
DMSO
CH3(MeOH)
CH3(isopr.)
OH exchange !!!
HDO /OH(MeOH)
HDO/ OH(isopr.)
OH(MeOH)/OH(isopr.)
Exchange Cross Peaks Depend on Mixing Time
tmix = 0.003s
Different mixing times